[image: image1.png]


[image: image2.png]@ Ragvenlights®





[image: image3.png]


Characteristics of X Series Bar Lights:

▪ Dimensions: W130*H61*L604/1197/1504mm 

▪ Power output: 15W~20W/30W~40W/40W~50W (code-switching mode) 

▪ Lighting control: Non-variable / DALI 2/ Radar sensor / Emergency light / Dual sensor/ Emergency light / Color temperature adjustable (3000K/4000K) 

▪ Design: Modern minimalist integrated design with rectangular structure, featuring premium PC materials, sleek aluminum alloy frame, and metal base. Combines functionality with industrial aesthetics, with anti-electric shock design. Power box and lamp body are snap-fit for easy installation/removal. Installation options include ceiling mounting and wall hanging.

▪ Optical Performance: Features front-mounted CCT light output with adjustable color temperature and power, offering multiple modes. Provides uniform, soft illumination with optional anti-glare treatment. Available configurations: 

Economy Edition: Diffused milk-white lampshade, luminous flux 140lm/W 

Anti-glare Premium Edition: Dual-color milk-white transparent lampshade + Crystal Plate + Diffuser, 2H UGR<19, luminous flux 120lm/W 

Anti-glare Professional Edition: Dual-color milk-white transparent lampshade + UGR anti-glare film + Diffuser, 4H8H UGR<19, luminous flux 120lm/W, light density G65-G85<3000cd/sq.m 

▪ Materials: The lampshade is made of UV-resistant PC material to extend lamp lifespan. The base is constructed with imported SPCC metal plate and high-quality powder coating for durability and reliability.

▪ Electrical performance: Certified with CE, ERP, SAA, and EMC standards; features flicker-free power supply and CCT (China Certification Test) compliance, meeting safety regulations for reliable operation.

[image: image4.png]


▪ Usage & Features: Ideal for offices, educational settings, conferences, and libraries. Featuring a sleek design with IP40 dustproof rating. Multiple customizable options include: power adjustment via dial, color temperature adjustment via dial, DALI dimming, microwave induction dimming, and emergency mode.
	Model
	CP.LN.X600C.001
	CP.LN.X1200C.001
	  CP.LN.X1500C.001

	Wattage 
	15W/20W
	30W/40W
	40W/50W

	Lumen
	①140LM/W@Basic model；②120LM/W，2H≦19 UGR@Project payment；

③120LM/W，4H8H≦19 UGR@Professional Edition；

	Beam angle
	120°

	CCT Change
	3000K / 3500K / 4000K

	CRI
	Ra>80

	SDCM
	SDCM <3

	Lifespan
	50,000hrs

	Voltage
	220-240VAC

	Temperature 
	-20°C~45°C

	Size
	130*61*604mm
	130*61*1197mm
	130*61*1504mm

	Dimmable option
	Silicon control / DAli 2

	ERP
	 120LM/W@project payment, special payment up to E ；

 140LM/W@Basic model up to D ；

	Flicker free
	PstLM≤1 SVM≤0.4 Stroboscopic invisible

	Dual power
	Yes

	Functions
	Optional: DT6, microwave induction, emergency function

	IP-class
	IP40

	IK-class
	IK03

	Insulation Class
	Class I

	Material 
	PC+AL

	Environment
	Indoors

	Installation
	Surfaced mounted/ Suspended

	Warranty
	5 years

	Attestation
	CE,EMC,LVD,ROHS,ERP,UKCA

	Inner box data
	(H600) 62*14.5*7.5cm, 1 piece, N.W: 2.15kg, G.W: 2.41kg;

 (H1200) 121*14.5*7.5cm, 1 piece, N.W: 3.2kg, G.W: 3.4kg;

(H1500) 152*14.5*7.5cm, 1 piece, N.W: 3.95kg, G.W:  4.48kg

	outer box data
	(H600) 63.5*39*16cm, 5 pieces per box, N.W: 8.8KG, G.W: 10KG;

 (H1200) 123*32*16cm, 4 pieces per box, N.W: 6.4KG, G.W: 8KG;

 (H1500) 154*24*16cm, 3 pieces per box, N.W: 8KG, G.W: 9KG


[image: image5.png][o— —

1=604/1197/1504mm




